## Points discussed (hidden)
Sr No | Points discussed | C&P Comments |  |  | Target Date (User)
1 | Common Control Room for CHP, AHP, Boiler & TG | AHP, Boiler, and TG are currently operated from a centralized control room, while the CHP control room is located separately. C&P requested to explore the feasibility of integrating CHP operations with the central DCS control room. The C&I team confirmed that CHP can be operated from the centralized control room. Accordingly, C&P proposed to deploy a single operator for both AHP and CHP operations, which would enable optimization of 4 no manpower positions without impacting plant operations. The User informed that they will discuss this proposal with the respective package owner and confirm by 09.12.2025. |  |  | 2025-12-10 | 4 nos can reduced
2 | AMC of OEM service engineer to be removed from contractors Scope | C&P proposed that the AMC of the OEM be kept under HMEL’s scope instead of the contractor’s scope, to avoid additional vendor margin on the AMC charges. The user acknowledged the proposal and confirmed that they will review and revert |  |  | 2025-12-10
3 | Contract Claue Retention of Minimum 70% Existing O&M Manpower | C&P proposed to delete the clause mandating retention of at least 70% of the existing O&M manpower. The User agreed to remove this clause.
4 | Benefit of common contract of substation (petchem, CPP & refinery) | The User clarified that Petchem falls under a different vertical compared to CPP and Refinery. Hence, coordination and responsibility sharing under a common contract would be difficult. The User further informed that they will review the benefits and revert by 11 Dec 25 |  |  | 2025-12-11
5 | ANNEXURE-D I Manpower – Pay Slabs / CTC in SOW | The User requested to retain the CTC/pay slabs in the SOW to ensure receipt of bids within a comparable range. C&P proposed the removal of CTC/pay slabs from the SOW and advised specifying Qualification, Experience, and Skill requirements for each manpower category instead. user agreed for the same
6 | Housekeeping manpower to be reduced | The User informed that they are currently evaluating housekeeping manpower optimization and will confirm the revised manpower count within one week. |  |  | 2025-12-12
7 | ANNEXURE-D - Organogram | C&P proposed to include indicative manpower only in the contract and add a condition that the vendor shall visit the plant, assess the actual requirement, optimize manpower accordingly, and submit the final quote.
8 | TA line item should be separate | C&P proposed to include TA as a separate line item. However, the User did not agree to keep TA as a separate item.
9 | Manpower Optimization | The Contractor shall operate the plant with the quoted manpower for the first year of the contract. During this period, the Contractor shall review, evaluate, and identify opportunities for manpower optimization through the introduction of automation, digital tools, improved work practices, and value additions, ensuring that there is no adverse impact on safety, statutory compliance, or plant operations. A slab-wise incentive mechanism shall be incorporated in the contract to encourage manpower optimization. The Contractor shall be eligible for incentive upon achieving manpower optimization of up to 10% on a Year-on-Year (YoY) basis, subject to verification, mutual agreement, and approval by the EIC
10 | Term of contract | As per the contract clause, the term shall be for 5 years with an option to extend for another 2 years based on O&M performance. 5th year price will be consider as a base for next 2 year extended period
Refinery | petchemical tender | CPP
Comparison with peer industry
S.no | Description | HMEL O&M |  | Jamnagar O&M |  | Hazira O&M
|  | Scope | O&M Staff (No) | Scope | O&M Staff (No) | Scope | O&M Staff (No)
1 | Gas Turbine | 3 No |  | 13 Nos | 180 | 4 Nos | 115
2 | Steam Turbine | 2 No |  | 6 Nos |  | 2 Nos
3 | utility Boiler | 4 No |  | 6 Nos
4 | HRG | 2 Nos |  |  |  | 2 Nos
5 | CFBC Boiler | 2 Nos |  |  |  | 5 Nos
| Outsourced |  | 312 |  | 150 |  | 102
| Total | 13 Nos | 312 | 27 Nos | 330 |  | 217
S.No | Points discussed with MD
1 | Incentive shall be 50% of annual cost of reduced manpower may be decided by management
2 | penalties to check again
3 | min manpower in switchyard
4 | IOCL per m3 Rate
5 | per m3 rate of HMEL

## Peer Industry (hidden)
Comparison with peer industry
S.no | Description | HMEL O&M |  | Reliance -Jamnagar O&M |  | Reliance- Hazira O&M
|  | Scope | O&M Staff (No) | Scope | O&M Staff (No) | Scope | O&M Staff (No)
1 | Gas Turbine | 3 No | 40 | 13 Nos | 180 | 4 Nos | 115 | MD steag
2 | Steam Turbine | 2 No |  | 6 Nos |  | 6 Nos
3 | utility Boiler | 4 No |  | 6 Nos
4 | HRG | 2 Nos |  |  |  | 2 Nos
5 | CFBC Boiler | 2 Nos |  |  |  | 5 Nos
6 | Material handling outsourced | [5 empty] | 150
| Outsourced |  | 312 |  | 150 |  | 102
| Total | 13 | 312 | 27 Nos | 330 | 17 nos | 367
[5 empty] | 24 | 12.2222 | 21.5882
O&M : 249 No, houskeeping : 60 No Admin : 3
|  |  | Manish | 1
|  |  | sid | 11
|  |  | modunary | 19
|  |  | sunil | 3
|  |  | Manish |  | 1
|  |  | sid |  | 1
|  |  |  | Vivek Khanna | 1
|  |  |  | Shailesh | 1
|  |  |  | ashwani Bansal | 1
|  |  |  | Raghvendra | 1
|  |  |  | sachdananad | 1
|  |  |  | sohil Jharia | 1
|  |  |  | mukesh prasad | 1
|  |  |  | amit | 1
|  |  |  | Humayu | 1
|  |  |  | venkar ram rao | 1
|  |  | Sunil Jain |  | 1
|  |  |  | Harindrasingh | 1
|  |  |  | Vinod Kumar | 1
|  |  | Lakshan Tari |  | 1
|  |  | raju |  | 1
|  |  |  | Arvind Kumar Jha | 1
|  |  |  | Jagdish | 1
|  |  |  | Yogesh | 1
|  |  |  | Sudhir | 1
|  |  |  | amit | 1
|  |  |  | Vinkal kumar | 1
|  |  |  | Ankit kumar | 1
|  |  |  | Umesh Kumar | 1
|  |  |  | Shamandeep | 1
|  |  |  | Basana | 1
|  |  |  | Ravindra Parishar | 1
|  |  |  | Darshan Patel | 1
|  |  |  | Mukesh Bansal | 1
|  |  |  | Vijay Patidar | 1
|  |  |  | ashu Yaadv | 1
|  |  |  | Tanmay | 1
|  |  |  | Amit singh | 1
|  |  |  | Nikhil Suman | 1
|  |  | Lakshweer singh |  | 1
|  |  | Vinod Mishra |  | 1
|  |  |  | satish Sharma | 1
|  |  |  | Anshuman Sharma | 1
|  |  |  | Rahul Goel | 1

## manpower (hidden)
| current Manpower requirement | Existing contract SC note extract
Management | 6
OPERATION CPP & CFBC | 79
MATERIAL HANDLING SYSTEM Ops | 27
ELECTRICAL MAINTENANCE | 46
MECHANICAL MAINTENANCE | 48
C&I MAINTENANCE | 24
Operation Excellence | 19
Technical & O&M | 249
HR /Admin & staff | 63
| 312 | 352
62.25
|  | 93 | 465 | 17.8846 | 5 manpower in A-B-C shift
|  | Total shift in a month | Total Days | Manpower
|  | 93 | 465 | 17.8846 | 5 manpower in A-B-C shift
2 Gas turbin+ Fuel system+ECS | 1 | 93 | 93 | 3.5769
3 steam turbine | 1 | 93 | 93 | 3.5769
2 utility Turbine | 2 | 93 | 186 | 7.1538
2 CFBC | 2 | 93 | 186 | 7.1538
AHP | 1 | 93 | 93 | 3.5769
CHP | 1 | 93 | 93 | 3.5769
Total | 8 | 93 | 744 | 28.6154
NTPC
IOCL
NAYARA
Reliance
BPCL
Opal
Value additon

## Payscale (hidden)
S No | Tentative Positions Proposed | Min Proposed Manpower(Nos) |  | Yearly Package (Cr) |  | Total Package
Management |  |  | Yearly Package
1 | Plant Head | 1 | 35 | 0.35 | 35 | 0.35
2 | HOD- Operations | 1 | 30 | 0.3 | 30 | 0.3
3 | HOD- OE (PSM , TS , Reliability & water chemistry ) | 1 | 30 | 0.3 | 30 | 0.3
4 | Manager Incharge - Maintenance | 1 | 25 | 0.25 | 25 | 0.25
5 | Manager Incharge - Electrical | 1 | 25 | 0.25 | 25 | 0.25
6 | Manager Incharge - Instrumentation | 1 | 25 | 0.25 | 25 | 0.25
| SUB TOTAL | 6 |  | 0 | 0 | 0
Operations CPP & CFBC |  | 1 |  | 0 | 0 | 0
7 | OMC CPP -Manager | 1 | 25 | 0.25 | 25 | 0.25
8 | OMC CFBC -Manager | 1 | 25 | 0.25 | 25 | 0.25
9 | Manager- Planner & Shutdown | 1 | 25 | 0.25 | 25 | 0.25
10 | Shift In Charge Engineer | 4 | 20 | 0.2 | 80 | 0.8
11 | Asst. Shift Incharge Engineer - | 4 | 15 | 0.15 | 60 | 0.6
12 | DCS Engineer (CPP, CFBC ) | 27 | 15 | 0.15 | 405 | 4.05
13 | Field Engineer / Operator | 40 | 12 | 0.12 | 480 | 4.8
Sub Total OPERATION CPP & CFBC |  | 79 |  | 0 | 0 | 0
Material Handling System |  |  |  | 0 | 0 | 0 | 32
14 | HOD - Material Handling | 1 | 30 | 0.3 | 30 | 0.3 | 3.2
15 | OMC - MHS | 1 | 25 | 0.25 | 25 | 0.25 | 35.2
19 | Asst. Shift Incharge | 4 | 15 | 0.15 | 60 | 0.6 | 42.24
23 | WT & Wagon handling operator | 6 | 15 | 0.15 | 90 | 0.9
24 | CRO & FE | 15 | 15 | 0.15 | 225 | 2.25 |  | may be decided by management
MATERIAL HANDLING SYSTEM Ops |  | 27 |  | 0 | 0 | 0 |  | penalties to check again
Electrical Maintenance CPP & CFBC & MHS |  |  |  | 0 | 0 | 0 |  | min manpower in switchyard
21 | Engineer | 5 | 15 | 0.15 | 75 | 0.75 |  | IOCL per m3 Rate
22 | Maint Technician | 15 | 7 | 0.07 | 105 | 1.05 |  | per m3 of HMEL
23 | Electrical Technician /Operator Shift | 26 | 7 | 0.07 | 182 | 1.82
TOTAL ELECTRICAL MAINTENANCE |  | 46 |  | 0 | 0 | 0
Mechancial Maintenance CPP & CFBC & MHS |  |  |  | 0 | 0 | 0
26 | Engineer | 5 | 15 | 0.15 | 75 | 0.75
27 | Foreman/Supervisor | 5 | 7 | 0.07 | 35 | 0.35
28 | Technician/Fitter /Rigger/Grinder /gas cutter | 30 | 7 | 0.07 | 210 | 2.1
29 | IBR Welder | 2 | 7 | 0.07 | 14 | 0.14
30 | LP Welder | 2 | 7 | 0.07 | 14 | 0.14
34 | Mechanical Technician Shift | 4 | 7 | 0.07 | 28 | 0.28
TOTAL MECHANICAL MAINTENANCE |  | 48 |  | 0 | 0 | 0
C&I Maintenance CPP & CFBC &MHS |  |  |  | 0 | 0 | 0
35 |  |  |  | 0 | 0 | 0
37 | Engineer | 5 | 15 | 0.15 | 75 | 0.75
38 | Technician | 15 | 7 | 0.07 | 105 | 1.05
40 | C&I Technician Shift | 4 | 7 | 0.07 | 28 | 0.28
TOTAL C&I MAINTENANCE |  | 24 |  | 0 | 0 | 0
MAINTANANCE SUBTOTAL |  | 118 |  | 0 | 0 | 0
Operation Excellence |  |  |  | 0 | 0 | 0
45 | Manager - OE & PSM / T&D | 1 | 30 | 0.3 | 30 | 0.3
46 | Manager - Technical Cell | 1 | 30 | 0.3 | 30 | 0.3
47 | Engineer (Performance/Analytics ) | 2 | 15 | 0.15 | 30 | 0.3
48 | Engineer (PSM & Training ) | 1 | 15 | 0.15 | 15 | 0.15
49 | Manager - QMS & Safety | 1 | 30 | 0.3 | 30 | 0.3
50 | Chemist | 5 | 7 | 0.07 | 35 | 0.35
51 | Safety | 4 | 12 | 0.12 | 48 | 0.48
52 | Manager -Reliability | 1 | 30 | 0.3 | 30 | 0.3
53 | Reliability Engineer -Rotary | 1 | 15 | 0.15 | 15 | 0.15
54 | Reliability Engineer -Asset Integrity | 1 | 15 | 0.15 | 15 | 0.15
55 | Engineer / Conditioning Monitoring | 1 | 15 | 0.15 | 15 | 0.15
TOTAL - OE |  | 19 |  | 0 | 0 | 0
Total Technical staff |  | 249 |  | 0 | 0 | 0
57 HR /Admin & staff |  |  |  | 0 | 0 | 0
56 | IT & HR Administrator -Employee | 3 | 12 | 0.12 | 36 | 0.36
57 | Operation Housekeeping & support - CPP, CFBC & AHP &MHS | 25 | 2 | 0.02 | 50 | 0.5
58 | Maintenance support & housekeeping staff CPP. CFBC, AHP, MHS | 15 | 2 | 0.02 | 30 | 0.3
59 | General Housekeeping & Supporting Staff | 20 | 2 | 0.02 | 40 | 0.4
Sub Total ( employee + Outsourced based on requirement ) |  | 63 |  | 0 | 0 | 0
Any other position if required |  | 0 |  | 0 | 0 | 0
TOTAL MANPOWER including Housekeeping and administrative staff |  | 312 |  |  |  | 30.95
35.5925

## SOR (hidden)
| Instead of | revised as
SCHEDULE-3- SCHEDULE OF PRICES
Line No. | Short text |  | Unit | 1st Year |  |  | 2nd Year |  |  | 3rd Year |  |  | 4th Year |  |  | 5th Year
|  |  |  | Quantity | Offer unit Rate (Rs.) | Net Value (Rs.) | Quantity | Offer unit Rate (Rs.) | Net Value (Rs.) | Quantity | Offer unit Rate (Rs.) | Net Value (Rs.) | Quantity | Offer unit Rate (Rs.) | Net Value (Rs.) | Quantity | Offer unit Rate (Rs.) | Net Value (Rs.)
1 | O&M fees | Operation Fee | Month | 9 |  |  | 12 |  |  | 12 |  |  | 12 |  |  | 15
Maintenance Fee
Housekeeping Fee
AMC
TA
| Mobilization Fees |  | Month | 2 |  |  | NA |  |  | NA |  |  | NA |  |  | NA
2 | Bonus (It will be calculated in line with Agreement to be paid through this line item.) |  |  | Need not to quote for this. Bonus will be calculated as per the Guarantee Clause
Total O&M Cost for 5 Years
Note:
| 1 |  | The quoted rates shall be exclusive of GST or any other applicable taxes, levies, cess and duties etc. The same shall be paid by the Owner at actuals based on the rates prevailing at the time of rendering the services for the scope of work. Also any changes in taxes/duties/imposition of any new indirect taxes shall be to the account of Owner.
| 2 |  | The base O&M Fees in (sr. no 1& 6 ) shall remain fixed for the period of contract from the start date . WPI / CPI escalation shall be applicable on this Fees point no3 on Year On Year Basis, (minimum of 2% & maximum of 10%). The fees accordingly shall be revised on yearly basis . However O&M Manpower fees point no 2 shall be escalted @ (minimum of 7% & maximum of 10% as per CPI /WPI Index) . For Bid comparision purpose the base O&M fees to be quoted
| 3 |  | O&M Fees shall start from 1 sep ,2026 based on successful mobilization and Mobilization period shall be 60 days . Delay in Complete Mobilization shall lead to delay in start of O&M Fees . During Mobilization period , O&M Fees shall be paid based on prorata basis of manpower mobilized .
| 4 |  | Organogram of Overall Plant to be submitted along with the bid.
| 5 |  | Owner may have requirements for Manpower based on new requirements . The same to be supplied based on Manmonth rates as per point no 6 post approval of EIC . Refer qualification/ experience as per Annexures.
| 6 |  | Bidder may be asked to provide break up of O&M fees into Manpower and overhead expenditures . Bidder to prepare their estimates accordingly for availability of information if desired.
| 7 |  | Mobilization fees is applicable only for new vendor (2 Month period) from
Optional Unit Rates
| Position |  | Unit (Man month ) | Rate (INR)
| Engineer |  | 1
| Technician |  | 1
| Helpers /Support staff |  | 1
[6 empty] | current Manpower requirement | Existing contract SC note extract
[5 empty] | Management | 6
[5 empty] | OPERATION CPP & CFBC | 79
[5 empty] | MATERIAL HANDLING SYSTEM Ops | 27
[5 empty] | ELECTRICAL MAINTENANCE | 46
[5 empty] | MECHANICAL MAINTENANCE | 48
[5 empty] | C&I MAINTENANCE | 24
[5 empty] | OE | 19
249
[5 empty] | HR /Admin & staff | 63
[6 empty] | 312 | 352

## HMEL data (hidden)
1 | A separate line item for Technical Assistance (TA) shall be added in Price Schedule–3
2 | The minimum limit in the escalation formula shall be removed
If the Contractor commits a material breach of any of its obligations under this Contract, including but not limited to failure to meet performance requirements
| qty | Operating Condition |  | Maximum Continuous Ratin
2 Gas Turbine- 34.5 MW | 2 | 31.95 | 63.9 | 34.5 | 69
2 steam turbine | 2 | 35 | 70 | 36 | 72
Back pressure turbine | 1 | 30.4 | 30.4 | 32 | 32
|  | TOTAL GUARANTEED OUTPUT @ 40 DEG , 60% RH | 164.3 |  | 173
INTERNAL AUXILIARY CONSUMPTION |  | 11.3
NET POWER EXPORT TO REFINERY – GUARANTEED |  | 153
Heat Recovery Steam Generator | 2
Utility Boilers | 4
CFBC Utility Boilers | 2
Gas Booster Compressors | 2 |  |  | frequently break down
CPP substation No-10 consists of major equipment
Total number of 33KV GIS - 64 Nos. (ABB make)
Total number of 6.6KV Switchgear - 90 Nos. (BHEL make)
Total number of 415V Switchgear - 352 modules (L&T)
Total no. of 11kv/33KV Generator Transformer - | 05 Nos
Total No. Of 33KV/6.6KV Transformers | 04 Nos.
Total No. Of 6.6KV/415V Transformers | 12 Nos.
CFBC substation 9, 29, 30 No- consists of major equipment:
Total No. Of 33KV/6.6KV Transformers | 02 Nos.
Total No. Of 6.6KV/415V Transformers - 15 Nos.
VFD Transformer 6.6KV/690V - 1 Nos
3 mill maintenance
AHP & CHP | 2025-10-08 | Pressure conveying / vaccume conveying
Heat Recovery Steam Generator | 2
Utility Boilers | 4

## Schdule VIII
Schedule VIII
a. | Incentive Slab Structure
| Manpower Optimization (YoY) | Incentive
| 5% | Incentive = 30% of Annual Manpower Cost saving
| >5% – 10% | Incentive = 40% of Annual Manpower Cost Savings
| >10% | Incentive = 50% of Annual Manpower Cost Savings
b. | Optimization Slab Determination
b.1 | Percentage Optimization Achieved (POA) | POA=( optimized no of manpower/ Baseline Manpower)×100
b.2 | Annual Manpower Cost saving (AMCS) | Baseline Manpower Cost (BMC)- Optimized Manpower Cost (OMC)
b.3 | Incentive Payable | AMCS× POA
b.4 | Maximum Optimzation Cost Allowed (MOC) | 2xAMCS
C | Revised Contract Value (RCV) | Original Contract Value (OCV) - AMCS
e. | Sample Calculation
| Baseline Manpower (Nos) | 250
| Optimized manpower (Nos) | 237.5
| POA (%) | 5%
| Baseline Manpower Cost (BMC) | 10 Cr
| Optimized Manpower Cost (OMC) | 9 Cr
| Annual Manpower Cost saving (AMCS) | 1 Cr
| Incentive Payable | 0.30 Cr
| Maximum Optimzation Cost Allowed (MOC) | 2 Cr
Note
1 | The Contractor shall clearly specify the manpower rates against each manpower category in the agreed Manpower Schedule of Rates (SOR).
2 | All calculations related to annual manpower cost savings, incentives (if any), and revision of contract value shall be strictly based on the rates and values as agreed and captured in the Manpower SOR.

## Manpower Schedule rate
Sr. No. | POSITIONS | QUALIFICATIONS | EXPERIENCE,Nos. of years | Monthly Cost(Vendor to fill)
1 | Station In Charge /Plant Manager | BE (Mech. /Elect /C & I) | 25-30
2 | HOD | BE (Mech. /Elect)& BOE | 18-25
3 | Shift In Charge | BE (Mech. /Elect) & BOE | 10-15
4 | Asst. Shift In Charge/Asst Manager | BE (Mech. /Elect) &BOE | 5 - 10
5 | Control Room Engineers | Deg./Dip (Mech. /Elect)/BOE | 3 - 10
6 | Plant Operators (GT, STG, HRSG, FC, Boiler,Electrical, Balance of Plant) | Diploma (Mech./Elect./C & I) | 3 - 10
7 | Maintenance Manager/OMC Manager | BE (Mech. /Elect)/C&I | 15 - 25
8 | Maintenance Engineer - Mechanical | Deg./Dip (Mech.)/BOE | 5 -10
9 | Maintenance Engineer - Electrical | Deg./Dip (Elect) | 5 -10
10 | Maintenance Engineer – C & I/IT | Deg.(Inst.)/Diploma-IT | 5 -10
11 | Chemical & Environment Manager | M Sc./B Sc./ Diploma (Chem. Engg.) | 10-15
12 | Fire & Safety In Charge | Dip (Industrial Safety) | 5 -10
13 | Fireman/Safety officer | Dip (Industrial Safety/Fire) | 3 - 5
14 | Materials (Stores) /Procurement | Deg./Dip (Mech./Elect.) | 5 - 10
15 | Store Keeper | Graduate/Diploma | 3 - 5
16 | HR/Admin In-Charge | Graduate/ Post Graduate | 7 - 10
17 | Documentation/Assistant | Graduate/ Post Graduate | 2 - 5
18 | Accounts In Charge | B Com/ M Com/ CA | 3 - 10
19 | Civil In Charge | Deg./Dip (Civil) | 3 -10
20 | Mechanical Supervisors | Dip./ITI (Mech.) | 3 - 10
21 | Mechanical (Fitters/Welders) | ITI (Mech.) | 3 - 10
22 | Electrical Supervisors | Dip./ITI (Elect.) | 5 - 10
23 | Electrical Technicians | ITI (Electrical)/Diploma | 3 - 10
24 | Instrumentation Supervisors | Dip. (C & I.) | 7 - 10
25 | Instrumentation Technicians | Dip/ITI (C & I) | 5 - 10
26 | Maintenance Support | -X/XII Pass/ITI | 1 - 5
27 | Lab. Assistant | B Sc. (Chemistry) | 3 - 7
28 | Housekeeping Manpower

## Sample SOR Calculation (hidden)
| Year-1 | Year-2 | Year-3 | Year-4 | Year-5
Quote by O&M Operator
Escalation (%) |  | 0% | 0% | 0% | 0%
O&M Fees (Cr) | 100 | 100 | 100 | 100 | 100
Escalation (Cr) |  | 0 | 0 | 0 | 0
Payment by HMEL
WPI / CPI Escalation (%) |  | 5% | 5% | 5% | 5%
O&M Fees with WPI/CPI (Cr) | 100 | 105 | 110.25 | 115.7625 | 121.5506
O& M Operator Escalation (Cr) |  | 0 | 0 | 0 | 0
Total O&M Fees | 100 | 105 | 110.25 | 115.7625 | 121.5506
Net Escalation |  | 5% | 5% | 5% | 5%